## HOTO Details
|  |  | 68 | 68 | [18 empty] | 11 | [6 empty] | 2043 | 2259 | 245
S/N. | BL Region | BL Zone | Generic Site ID | Site Code | Collocated Site Code (if any) | Power Status | Site Type | District | Thana | Address | Lat | Long | Security Guard Available | Access Key Status | Outgoing Vendor Name | Incoming Vendor Name | FLM Vendor Office Location | Vendor Transformation | HOTO Plan Date (Primary) | Remarks on HOTO Plan, if any | Outgoing Vendor POC | Incoming Vendor POC | HOTO Actual Date | DG Brand (Including DG-2, if any) | DG Capacity in KVA | DG Fuel Tank Capacity in Ltr. | Fuel Tank Type | DG Present Status on HOTO Date (OK/NOK) | DG Present RH on HOTO Date | DG Present Fuel (Ltr.) with Sediment | DG Present Fuel (Ltr.) including impurity | Additional impurity (water in Ltr.) on top of pure fuel and sediment, if any | GENSET ON Alarm Status (OK/NOK) | Site Type (Standard/Remote) | DG Major Deficiencies After HOTO, if any | Incoming Vendor Comment | HOTO data acknowledged by Outgoing Vendor (Yes/No) | Outgoing Vendor Comment
1 | RO-2 | Sylhet | SYL0133 | SYL_X0133 | SYL_X0133 | CP+DG | Indoor GF | Sylhet | Companiganj Syl. | Tuker Bazar,Companiganj, Sylhet | 25.1084 | 91.7578 |  | Dash Link | Dhaly | Alliance |  | Dhaly-Alliance | 2026-08-26
2 | RO-2 | Sylhet | SYL0082 | SYL_X0082 | SYL_X0082 | CP+DG | Indoor GF | Habiganj | Lakhai | A. Rashid Talukder, West Bulla, Bulla Bazar | 24.3069 | 91.2954 |  | Mobaj | Dhaly | Alliance |  | Dhaly-Alliance | 2026-08-26
3 | RO-2 | Sylhet | SYL0589 | SYL_X0589 | SYL_X0589 | CP+DG | Outdoor GF | Sylhet | Companiganj Syl. | Volagonj Bazar, Companiganj, Sylhet | 25.1385 | 91.7494 |  | Outdoor Cabinet Key | Dhaly | Alliance |  | Dhaly-Alliance | 2026-08-26
4 | RO-2 | Sylhet | SYL0331 | SYL_X0331 | SYL_X0331 | CP+DG | Indoor GF | Habiganj | Habiganj Sadar | Paddarbari Road, Habiganj Sadar, Habiganj | 24.3544 | 91.4223 |  | Old Abloy _510 BL M (3) | Dhaly | Alliance |  | Dhaly-Alliance | 2026-08-26
5 | RO-2 | Sylhet | SYL0073 | SYL_X0073 | SYL_X0073 | CP+DG | Outdoor GF | Sylhet | Companiganj Syl. | Ichhakolosh, Companygonj, Sylhet | 25.0807 | 91.758 |  | Mobuj & Outdoor key | Dhaly | Alliance |  | Dhaly-Alliance | 2026-08-26 |  |  |  | 2026-08-30 | Fg wilson | 22 | 70 | Can | NOK | 42.2 | 14 | 14 | 00 | OK | Standard | 1.DG Battery faulty. 2.DG Battery cable aluminium need to change. 3.Hose pipe leakage. 4.Hi temperature sensor broken. 5.DG Dynamo faulty. 6.Silencer pipe leakage. 7.DG Room gate broken. 8.DG canopy lock faulty 9.1 Phase missing 10.Fuel thief aria need to proper protection. 11.1 pcs Transformer Faulty. 12.Last servicing date not found.
6 | RO-2 | Sylhet | SYL0117 | SYL_X0117 | SYL_X0117 | CP+DG | Indoor GF | Habiganj | Lakhai | College Road, Bamai, Lakhai, Habiganj,Sylhet | 24.2822 | 91.2532 |  | HMBR | Dhaly | Alliance |  | Dhaly-Alliance | 2026-08-26
7 | RO-2 | Sylhet | SYL0566 | SYL_X0566 | SYL_X0566 | CP+DG | Indoor GFRT | Habiganj | Lakhai | Bottola Bazar, Lakhai,Habiganj | 24.2892 | 91.216 |  | Mobaj | Dhaly | Alliance |  | Dhaly-Alliance | 2026-08-26
8 | RO-2 | Sylhet | SYL0162 | SYL_X0162 | SYL_X0162 | CP+DG | Indoor GF | Sylhet | Companiganj Syl. | Salutikor Bazar, Gowainghat, Sylhet | 24.9962 | 91.8461 |  | Mobaj | Dhaly | Alliance |  | Dhaly-Alliance | 2026-08-26 |  |  |  | 2026-08-30 | Fg wilson | 22 | 2000 | Can | OK | 105.7 | 223 | 223 | 00 | OK | Standard | 1) Dg fan belt not ok 2) Lube oil sensor & Temp sensor disconnected.
9 | RO-2 | Sylhet | SYL0585 | SYL_G0585 | SYL_G0585 | CP+DG | Outdoor GF | Sylhet | Companiganj Syl. | Mayar Bazar, Companiganj, Sylhet | 25.1627 | 91.807 |  | Mobuj & Outdoor key | Dhaly | Alliance |  | Dhaly-Alliance | 2026-08-26
10 | RO-2 | Sylhet | SYL0550 | SYL_X0550 | SYL_X0550 | CP+DG | Indoor GFRT | Moulavibazar | Moulavibazar | Harinagar bazar,Nobiganj,Sylhet | 24.6647 | 91.52 |  | SOLTE | Dhaly | Alliance |  | Dhaly-Alliance | 2026-08-27
11 | RO-2 | Sylhet | SYL0291 | SYL_X0291 | SYL_X0291 | CP+DG | Indoor GF | Habiganj | Bahubal | Dubai Bazar, Bahubal, Habiganj | 24.3866 | 91.5535 |  | Mobaj | Dhaly | Alliance |  | Dhaly-Alliance | 2026-08-27
12 | RO-2 | Sylhet | SYL0087 | SYL_X0087 | SYL_X0087 | CP+DG | Outdoor GF | Sunamganj | Bishwamvarpur | Bishwambarpur, Sunamganj, Sylhet | 25.1027 | 91.3003 |  | Mobuj & Outdoor key | Dhaly | Alliance |  | Dhaly-Alliance | 2026-08-27
13 | RO-2 | Sylhet | SYL0097 | SYL_X0097 | SYL_X0097 | CP+DG | Indoor RT | Moulavibazar | Moulvibazar Sadar | Md. Syed Mohammed Ali,Village Bekamura,Kazirbazar, Moulovibazar,Sylhet | 24.5726 | 91.7225 |  | Dash Link | Dhaly | Alliance |  | Dhaly-Alliance | 2026-08-27
14 | RO-2 | Sylhet | SYL0274 | SYL_X0274 | SYL_X0274 | CP+DG | Indoor GF | Sunamganj | Bishwamvarpur | Bagberbazar, Bishwamvarpur, Sunamganj | 25.125 | 91.3689 |  | Mobaj | Dhaly | Alliance |  | Dhaly-Alliance | 2026-08-27
15 | RO-2 | Sylhet | SYL0065 | SYL_X0065 | SYL_X0065 | CP+DG | Indoor GF | Sylhet | Kanaighat | Dhaliachar, Kanaighat, Sylhet | 25.0062 | 92.2575 |  | Mobaj | Dhaly | Alliance |  | Dhaly-Alliance | 2026-08-27
16 | RO-2 | Sylhet | SYL0219 | SYL_X0219 | SYL_X0219 | CP+DG | Indoor GFRT | Sylhet | Kanaighat | Soroker Bazar, Kanaighat (Zaflon Road), Sylhet | 24.992 | 92.3426 |  | Mobaj | Dhaly | Alliance |  | Dhaly-Alliance | 2026-08-27
17 | RO-2 | Sylhet | SYL0257 | SYL_X0257 | SYL_X0257 | CP+DG | Indoor GF | Moulavibazar | Moulvibazar Sadar | Thana Bazar, Moulvibazar Sadar,Moulvibazar | 24.5225 | 91.7276 |  | New Abloy _DMO (1) | Dhaly | Alliance |  | Dhaly-Alliance | 2026-08-27
18 | RO-2 | Sylhet | SYL0233 | SYL_X0233 | SYL_X0233 | CP+DG | Indoor GF | Sylhet | Kanaighat | Chatul Bazar, Kanaighat, Sylhet | 25.0529 | 92.1748 |  | Mobaj | Dhaly | Alliance |  | Dhaly-Alliance | 2026-08-27
19 | RO-2 | Sylhet | SYL0092 | SYL_X0092 | SYL_X0092 | CP+DG | Outdoor GF | Moulavibazar | Moulavibazar | Moshahid AW, Inatganj, Nabiganj, Habiganj | 24.6651 | 91.5622 |  | SAFAR & Outdoor key | Dhaly | Alliance |  | Dhaly-Alliance | 2026-08-27
20 | RO-2 | Sylhet | SYL0613 | SYL_X0613 | SYL_X0613 | CP+DG | Outdoor GF | Sunamganj | Bishwamvarpur | Bhaddertek, P.O: Rotagaw-3000, Bishwamvarpur, Sunamganj | 25.0927 | 91.3779 |  | Outdoor Cabinet Key | Dhaly | Alliance |  | Dhaly-Alliance | 2026-08-27 |  |  |  | 2026-08-31 | FG Wilson | 22 | 2000 | Can | OK | 4345.3 | 134 | 149 | 15 | OK | Standard | Lube oil shootees
21 | RO-2 | Sylhet | SYL0235 | SYL_X0235 | SYL_X0235 | CP+DG | Indoor GFRT | Sylhet | Zakiganj | Atgram Bazar, Zakiganj, Sylhet | 24.9864 | 92.3999 |  | Mobaj | Dhaly | Alliance |  | Dhaly-Alliance | 2026-08-27
22 | RO-2 | Sylhet | SYL0218 | SYL_X0218 | SYL_X0218 | CP+DG | Indoor GF | Sylhet | Kanaighat | Rajagonj Bazar, Kanaighat, Sylhet | 24.9034 | 92.0654 |  | Mobaj | Dhaly | Alliance |  | Dhaly-Alliance | 2026-08-27
23 | RO-2 | Sylhet | SYL0020 | SYL_X0020 | SYL_X0020 | CP+DG | Indoor GF | Sylhet | Zakiganj | near Sagbag Market on the Sylhet-Jakiganj highway | 24.97 | 92.2646 |  | Mobaj | Dhaly | Alliance |  | Dhaly-Alliance | 2026-08-27
24 | RO-2 | Sylhet | SYL0273 | SYL_X0273 | SYL_X0273 | CP+DG | Indoor GFRT | Sylhet | Kanaighat | Suraighat Bazar,Kanaighat, Sylhet | 25.0623 | 92.2588 |  | Mobaj | Dhaly | Alliance |  | Dhaly-Alliance | 2026-08-27
25 | RO-2 | Sylhet | SYL0204 | SYL_X0204 | SYL_X0204 | CP+DG | Indoor GFRT | Sylhet | Gowainghat | Hadarpar Bazar, Gowainghat, Sylhet | 25.1475 | 91.8881 |  | Mobaj | Dhaly | Alliance |  | Dhaly-Alliance | 2026-08-27
26 | RO-2 | Sylhet | SYL0200 | SYL_X0200 | SYL_X0200 | CP+DG | Indoor GFRT | Sylhet | Beanibazar | Dubag Bazar, Beanibazar, Sylhet | 24.8819 | 92.2099 |  | Mobaj | Dhaly | Alliance |  | Dhaly-Alliance | 2026-08-28
27 | RO-2 | Sylhet | SYL0069 | SYL_X0069 | SYL_X0069 | CP+DG | Indoor GFRT | Sunamganj | Jamalganj | Upozilla Quarter, Jamalganj, Sunamganj, Sylhet | 25.0004 | 91.2328 |  | Mobaj | Dhaly | Alliance |  | Dhaly-Alliance | 2026-08-28 |  |  |  | 2026-09-01 | SDMO | 30 | 2000 | Can | NOK | 2952.9 | 114 | 55 | 59 | NOK | Remote |  | DG Permanent Faulty
28 | RO-2 | Sylhet | SYL0222 | SYL_X0222 | SYL_X0222 | CP+DG | Indoor GF | Habiganj | Chunarughat | Sakir Md. Bazar, Chunarughat, Habiganj , Sylhet | 24.2231 | 91.4706 |  | Mobaj | Dhaly | Alliance |  | Dhaly-Alliance | 2026-08-28
29 | RO-2 | Sylhet | SYL0142 | SYL_X0142 | SYL_X0142 | CP+DG | Indoor GF | Sylhet | Beanibazar | Boiragibazar, Beanibazar, Sylhet | 24.853 | 92.1575 |  | Local | Dhaly | Alliance |  | Dhaly-Alliance | 2026-08-28
30 | RO-2 | Sylhet | SYL0118 | SYL_X0118 | SYL_X0118 | CP+DG | Indoor GF | Sylhet | Beanibazar | Abdullahpur, P.O- Paton, P.S. -Beanibazar, Sylhet | 24.7735 | 92.1678 |  | Mobaj | Dhaly | Alliance |  | Dhaly-Alliance | 2026-08-28
31 | RO-2 | Sylhet | SYL0604 | SYL_X0604 | SYL_X0604 | CP+DG | Indoor GF | Habiganj | Habiganj Sadar | Alipur, PO: Shah Haji Bazar, Union: Nurpur, Habiganj Sadar, Habiganj |  |  |  | Local | Dhaly | Alliance |  | Dhaly-Alliance | 2026-08-28
32 | RO-2 | Sylhet | SYL0483 | SYL_X0483 | SYL_X0483 | CP+DG | Indoor GF | Sylhet | Beanibazar | Dewnagar, Sheola Bazar, Beanibazar, Sylhet | 24.8913 | 92.1895 |  | Mobaj | Dhaly | Alliance |  | Dhaly-Alliance | 2026-08-28
33 | RO-2 | Sylhet | SYL0052 | SYL_X0052 | SYL_X0052 | CP+DG | Indoor GF | Habiganj | Nabiganj | Vill: Sataihal, Thana Nabiganj, Dist: Habiganj, SDH Tower Sharing Sylhet. | 24.4831 | 91.5781 |  | Local | Dhaly | Alliance |  | Dhaly-Alliance | 2026-08-28
34 | RO-2 | Sylhet | SYL0089 | SYL_X0089 | SYL_X0089 | CP+DG | Outdoor GF | Sunamganj | Jamalganj | Gozaria Bazar, Jamalganj, Sunamganj, Sylhet | 24.8791 | 91.1638 |  | Local & Outdoor key | Dhaly | Alliance |  | Dhaly-Alliance | 2026-08-28 |  |  |  | 2026-09-01 | Tempest | 20 | 2000 | Can | OK | 2241 | 104 | 104 | 00 | OK | Remote
35 | RO-2 | Sylhet | SYL0420 | SYL_G0420 | SYL_G0420 | CP+DG | Indoor GFRT | Sunamganj | Jamalganj | Laxmipur bazar, Jamalganj, Sunamganj | 24.9166 | 91.2289 |  | Local | Dhaly | Alliance |  | Dhaly-Alliance | 2026-08-28 |  |  |  | 2026-09-01 | Tempest | 22 | 2000 | Can | OK | 3498.4 | 297 | 178 | 119 | OK | Remote |  | 1) Hedgasket problem 2) Rediotor jum/ not cilin
36 | RO-2 | Sylhet | SYL0364 | SYL_X0364 | SYL_X0364 | CP+DG | Indoor GF | Moulavibazar | Moulvibazar Sadar | Moulvibazar Sadar,Moulvibazar , sylhet | 24.4455 | 91.6759 |  | Local | Dhaly | Alliance |  | Dhaly-Alliance | 2026-08-28
37 | RO-2 | Sylhet | SYL0062 | SYL_X0062 | SYL_X0062 | CP+DG | Outdoor GF | Sylhet | Sylhet Sadar | Shiber Bazar, Sylhet sadar, Sylhet | 24.9762 | 91.7884 |  | Mobuj & Outdoor key | Dhaly | Alliance |  | Dhaly-Alliance | 2026-08-29
38 | RO-2 | Sylhet | SYL0017 | SYL_X0017 | SYL_X0017 | CP+DG | Indoor GF | Sylhet | Jaintiapur | Khorkapunji near Dorbosto Bazar on Sylhet Jaintapur highway | 25.0475 | 92.0962 |  | Mobaj | Dhaly | Alliance |  | Dhaly-Alliance | 2026-08-29
39 | RO-2 | Sylhet | SYL0075 | SYL_X0075 | SYL_X0075 | CP+DG | Outdoor GF | Moulavibazar | Juri | Katchbazar,Kaminiganj nowabazae | 24.5909 | 92.1146 |  | Local & Outdoor key | Dhaly | Alliance |  | Dhaly-Alliance | 2026-08-29
40 | RO-2 | Sylhet | SYL0191 | SYL_X0191 | SYL_X0191 | CP+DG | Indoor GF | Sunamganj | Sunamganj Sadar | Mongolkata bazar, Sunamganj, Sylhet | 25.1305 | 91.4266 |  | Mobaj | Dhaly | Alliance |  | Dhaly-Alliance | 2026-08-29
41 | RO-2 | Sylhet | SYL0002 | SYL_X0002 | SYL_X0002 | CP+DG | Indoor RT | Sylhet | Sylhet Sadar | Sylhet Mellenium Shopping Complex, Jallarpar road, Zindabazar, Sylhet | 24.8947 | 91.8667 |  | N/A | Dhaly | Alliance |  | Dhaly-Alliance | 2026-08-29
42 | RO-2 | Sylhet | SYL0043 | SYL_X0043 | SYL_X0043 | CP+DG | Indoor GF | Sunamganj | South Sunamgonj | Villege: Joykolas,Thana: Sunamganj, District: Sunamganj, Division: Sylhet | 24.9509 | 91.3982 |  | Mobaj | Dhaly | Alliance |  | Dhaly-Alliance | 2026-08-29 |  |  |  | 2026-08-31 | Fg wilson | 22 | 2000 | Can | OK | 442.8 | 149 | 186 | 37 | OK | Standard | 1. DG Fan Belt Loose - Faulty Note: 1) Dg fan belt loss 2)charging dynamo properly not setting 3) engine lube oil shortest | 1) Dg fan belt loss, 2)Charging dynamo properly not setting 3) engine lube oil shortest
43 | RO-2 | Sylhet | SYL0568 | SYL_X0568 | SYL_X0568 | CP+DG | Outdoor GFRT | Sunamganj | Sunamganj Sadar | Tuker Bazar, Sunamganj Sadar, Sunamganj | 25.0305 | 91.3586 |  | Mobuj & Outdoor key | Dhaly | Alliance |  | Dhaly-Alliance | 2026-08-29 |  |  |  | 2026-08-31 | Welland Power | 20 | 2000 | Can | OK | 2950.21 | 282 | 297 | 15 | OK | Standard
44 | RO-2 | Sylhet | SYL0077 | SYL_X0077 | SYL_X0077 | CP+DG | Indoor GF | Moulavibazar | Rajnagar | Mr. Batir Miah, Dhakkhin gaw, Munshibazar, Rajnagar, Moulvibazar, Sylhet | 24.5821 | 91.8908 |  | Mobaj | Dhaly | Alliance |  | Dhaly-Alliance | 2026-08-29 |  |  |  | 2026-09-01 | Visa | 30 | 2000 | Can | OK | 629.2 |  | 327 |  | OK |  | DG Fuel pipe hard need to change Need to DG Radiator servicing DG Room light faulty Need to Fuel tank locking system
45 | RO-2 | Sylhet | SYL0242 | SYL_X0242 | SYL_X0242 | CP+DG | Indoor GFRT | Sunamganj | Sunamganj Sadar | Betganj Bazar, Sunamganj Sadar, Sunamganj | 25.0246 | 91.4427 |  | Mobaj | Dhaly | Alliance |  | Dhaly-Alliance | 2026-08-29
46 | RO-2 | Sylhet | SYL0213 | SYL_X0213 | SYL_X0213 | CP+DG | Indoor GFRT | Moulavibazar | Barlekha | Office Bazar, Barlekha, Moulvibazar | 24.765 | 92.2246 |  | Mobaj | Dhaly | Alliance |  | Dhaly-Alliance | 2026-08-29
47 | RO-2 | Sylhet | SYL0141 | SYL_X0141 | SYL_X0141 | CP+DG | Outdoor GF | Moulavibazar | Barlekha | Shaypur, Shahbazpur, Barlekha, Moulvibazar | 24.8045 | 92.2412 |  | Outdoor Cabinet Key | Dhaly | Alliance |  | Dhaly-Alliance | 2026-08-29
48 | RO-2 | Sylhet | SYL0615 | SYL_X0615 | SYL_X0615 | CP+DG | Outdoor GF | Moulavibazar | Kulaura | Kathaltoli Bazar, Kormoda, Kulaura, Moulvibazar | 24.4397 | 92.0219 |  | Outdoor Cabinet Key | Dhaly | Alliance |  | Dhaly-Alliance | 2026-08-30
49 | RO-2 | Sylhet | SYL0611 | SYL_X0611 | SYL_X0611 | CP+DG | Outdoor GF | Sunamganj | Dowarabazar | Vill- Mohabbat Pur, UP- 9 no Surma Union , P/S- Dowarabazar, Dist- Sunamganj | 25.0939 | 91.558 |  | Outdoor Cabinet Key | Dhaly | Alliance |  | Dhaly-Alliance | 2026-08-30
50 | RO-2 | Sylhet | SYL0405 | SYL_X0405 | SYL_X0405 | CP+DG | Indoor GF | Sylhet | Kanaighat | Bordesh Bazar/ Bagar bazar, Kanaighat, Sylhet | 24.9628 | 92.2116 |  | Duolux | Dhaly | Alliance |  | Dhaly-Alliance | 2026-08-30
51 | RO-2 | Sylhet | SYL0247 | SYL_X0247 | SYL_X0247 | CP+DG | Indoor GFRT | Sunamganj | Dowarabazar | Ambari Bazar, Dowarabazar, Sunamganj | 25.0697 | 91.4758 |  | Mobaj | Dhaly | Alliance |  | Dhaly-Alliance | 2026-08-30
52 | RO-2 | Sylhet | SYL0086 | SYL_X0086 | SYL_X0086 | CP+DG | Outdoor GF | Sunamganj | Dowarabazar | Dawara Bazar, Sunamganj, Sylhet | 25.0486 | 91.5581 |  | Local & Outdoor key | Dhaly | Alliance |  | Dhaly-Alliance | 2026-08-30
53 | RO-2 | Sylhet | SYL0067 | SYL_X0067 | SYL_X0067 | CP+DG | Indoor GF | Moulavibazar | Kulaura | Vill: Alalpur,Thana: Kulaura, District: Moulvibazar, Division: Sylhet | 24.5148 | 92.0341 |  | Mobus | Dhaly | Alliance |  | Dhaly-Alliance | 2026-08-30 |  |  |  | 2026-08-31 | FG Wilson | 30 | 2000 | Can | OK |  | 372 | 372 |  | OK | Standard | Lub oil shortage ATS Door cobja broken DG Front side canopy missing DG Base not fixed AC power cable twist DG room light not found
54 | RO-2 | Sylhet | SYL0103 | SYL_X0103 | SYL_X0103 | CP+DG | Indoor GFRT | Moulavibazar | Kulaura | Vill & P.O.- Pretimpasha, Robir Bazar,P. S.- Kulaura, Dist: Moulvibazar | 24.4458 | 91.9928 |  | Mobaj | Dhaly | Alliance |  | Dhaly-Alliance | 2026-08-30 |  |  |  | 2026-09-02 | Ghadder | 20 | 2000 | Can | OK | 7873 | 354 | 354 |  | OK | Standard | 1. Fuel pipe hard - Faulty 2. Need to fuel tank lock system,& pipe protection - Faulty
55 | RO-2 | Sylhet | SYL0105 | SYL_X0105 | SYL_X0105 | CP+DG | Indoor GF | Moulavibazar | Kamalganj | Munshibazar, Shamshernagar road, PS: Kamalganj, Dist:Maulvibazar | 24.4178 | 91.8454 |  | Mobaj | Dhaly | Alliance |  | Dhaly-Alliance | 2026-08-30
56 | RO-2 | Sylhet | SYL0093 | SYL_X0093 | SYL_X0093 | CP+DG | Outdoor RT | Sylhet | Gowainghat | Hotel Peris, Mamar Bazar, Jaflong, Jaintapur, Sylhet | 25.1709 | 92.0175 |  | Outdoor Cabinet Key | Dhaly | Alliance |  | Dhaly-Alliance | 2026-08-30
57 | RO-2 | Sylhet | SYL0537 | SYL_X0537 | SYL_X0537 | CP+DG | Indoor GFRT | Sylhet | Balaganj | Begampur Bazar, Balaganj, Sylhet | 24.6585 | 91.708 |  | Mobaj | Dhaly | Alliance |  | Dhaly-Alliance | 2026-08-30
58 | RO-2 | Sylhet | SYL0543 | SYL_X0543 | SYL_X0543 | CP+DG | Outdoor GF | Sunamganj | Dowarabazar | Dowarabazar,Sunamganj,Sylhet | 25.1386 | 91.5759 |  | Local | Dhaly | Alliance |  | Dhaly-Alliance | 2026-08-30
59 | RO-2 | Sylhet | SYL0426 | SYL_X0426 | SYL_X0426 | CP+DG | Indoor GF | Sylhet | Fenchuganj | Manik Kona Bazar, Fenchuganj,Sylhet | 24.718 | 91.9858 |  | Mobaj | Dhaly | Alliance |  | Dhaly-Alliance | 2026-08-30
60 | RO-2 | Sylhet | SYL0083 | SYL_X0083 | SYL_X0083 | CP+DG | Indoor RT | Habiganj | Ajmiriganj | Azmiriganj Bazar, PS: Azmiriganj, Hobiganj | 24.5588 | 91.232 | Yes | Kiko | Dhaly | Alliance |  | Dhaly-Alliance | 2026-08-31
61 | RO-2 | Sylhet | SYL0397 | SYL_G0397 | SYL_G0397 | CP+DG | Outdoor GF | Sunamganj | Tahirpur | Ekota bazar, halholia,Tahirpur, Sunamganj | 25.1728 | 91.1965 |  | Outdoor key | Dhaly | Alliance |  | Dhaly-Alliance | 2026-08-31
62 | RO-2 | Sylhet | SYL0072 | SYL_X0072 | SYL_X0072 | CP+DG | Outdoor GF | Habiganj | Baniachong | Thana:Baniachong, District: Habiganj, Division: Sylhet | 24.5183 | 91.3614 |  | Mobuj & Outdoor key | Dhaly | Alliance |  | Dhaly-Alliance | 2026-08-31
63 | RO-2 | Sylhet | SYL0422 | SYL_G0422 | SYL_G0422 | CP+DG | Outdoor GF | Sunamganj | Tahirpur | Lamagaon, Taherpur, Sunamgonj | 25.1126 | 91.0641 |  | Premimum & Outdoor key | Dhaly | Alliance |  | Dhaly-Alliance | 2026-08-31
64 | RO-2 | Sylhet | SYL0156 | SYL_X0156 | SYL_X0156 | CP+DG | Indoor GF | Sunamganj | Chhatak | Kumna, Sylhet-Paper Mill, Chhatak, Sunamganj, Sylhet | 25.0222 | 91.6479 |  | Mobaj | Dhaly | Alliance |  | Dhaly-Alliance | 2026-08-31
65 | RO-2 | Sylhet | SYL0152 | SYL_X0152 | SYL_X0152 | CP+DG | Indoor GF | Sunamganj | Tahirpur | Vill+PO: Badaghat bazar,PS:Tahirpur,Sunamganj,Sylhet | 25.1444 | 91.2248 |  | Mobaj | Dhaly | Alliance |  | Dhaly-Alliance | 2026-08-31
66 | RO-2 | Sylhet | SYL0221 | SYL_X0221 | SYL_X0221 | CP+DG | Indoor GF | Sunamganj | South Sunamgonj | Kandigaon, South Sunamganj, Sunamganj Sadar | 24.9268 | 91.4474 |  | Local | Dhaly | Alliance |  | Dhaly-Alliance | 2026-08-31
67 | RO-2 | Sylhet | SYL0554 | SYL_X0554 | SYL_X0554 | CP+DG | Indoor GF | Sunamganj | Derai | Vill: Notun Kornogoan, P.O: Derai, P.S: Derai, Dist: Sunamganj | 24.8281 | 91.3603 |  | Mobaj | Dhaly | Alliance |  | Dhaly-Alliance | 2026-08-31
68 | RO-2 | Sylhet | SYL0091 | SYL_X0091 | SYL_X0091 | CP+DG | Indoor GF | Sunamganj | Sullah | Sullah College, Sullah, Sunamganj | 24.6737 | 91.2707 |  | Local | Dhaly | Alliance |  | Dhaly-Alliance | 2026-09-01

## Cumulative Update
| 68 | 11
Date | Target | Done | Cum Target | Cum Done
2026-08-26 | 9 | 0 | 9 | 0
2026-08-27 | 16 | 0 | 25 | 0
2026-08-28 | 11 | 0 | 36 | 0
2026-08-29 | 11 | 0 | 47 | 0
2026-08-30 | 12 | 2 | 59 | 2
2026-08-31 | 8 | 4 | 67 | 6
2026-09-01 | 1 | 4 | 68 | 10
2026-09-02 | 0 | 1 | 68 | 11